## 33_bus
DG parameter
| Cost_coefficient(a_i($/MWh2)) | Cost_coefficient(b_i($/MWh)) | Cost coefficient of reserve ($/MWh) | Maximum active output(kW) | Minimum active output(kW) | Maximum reactive output(kVar) | Minimum reactive output(kVar)
| 12 | 90 | 90 | 2500 | 0 | 1500 | 0
Forecasting RES output(kW)
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
| WT1 | 963.456 | 961.7219 | 959.9879 | 958.2538 | 956.5197 | 954.7857 | 953.0516 | 951.3176 | 949.5835 | 935.2266 | 916.4147 | 897.6027 | 878.7908 | 858.9393 | 838.4195 | 817.8998 | 797.38 | 806.2263 | 847.1081 | 887.99 | 928.8718 | 954.6543 | 952.1255 | 949.5966 | 947.0678 | 940.2552 | 918.0211 | 895.787 | 873.5529 | 850.6762 | 821.0526 | 791.4291 | 761.8055 | 732.1819 | 765.8265 | 802.3469 | 838.8673 | 875.3878 | 889.2 | 898.2316 | 907.2632 | 916.2947 | 902.0227 | 877.5553 | 853.088 | 828.6206 | 788.3747 | 735.9916 | 683.6084 | 631.2253 | 596.3341 | 584.1825 | 572.0309 | 559.8794 | 562.4211 | 598.5474 | 634.6737 | 670.8 | 697.8505 | 681.7907 | 665.7309 | 649.6711 | 634.2467 | 632.8017 | 631.3566 | 629.9116 | 628.4665 | 632.7788 | 637.6395 | 642.5001 | 647.3607 | 665.3811 | 687.0568 | 708.7326 | 730.4084 | 752.3841 | 774.5197 | 796.6552 | 818.7908 | 818.5275 | 797.7319 | 776.9363 | 756.1406 | 751.1212 | 770.6426 | 790.1639 | 809.6853 | 829.6179 | 850.7156 | 871.8134 | 892.9112 | 912.0384 | 918.0288 | 924.0192 | 930.0096 | 936
| WT2 | 752.7 | 751.3453 | 749.9905 | 748.6358 | 747.2811 | 745.9263 | 744.5716 | 743.2168 | 741.8621 | 730.6458 | 715.949 | 701.2521 | 686.5553 | 671.0463 | 655.0153 | 638.9842 | 622.9532 | 612.5767 | 608.3688 | 604.1609 | 599.953 | 596.6589 | 595.0784 | 593.4979 | 591.9174 | 593.273 | 605.1988 | 617.1246 | 629.0504 | 638.0072 | 615.7895 | 593.5718 | 571.3541 | 549.1364 | 568.2441 | 589.2302 | 610.2163 | 631.2024 | 640.224 | 646.7267 | 653.2295 | 659.7322 | 649.4563 | 631.8398 | 614.2233 | 596.6068 | 579.4848 | 562.7432 | 546.0017 | 529.2601 | 515.2327 | 504.7337 | 494.2347 | 483.7358 | 478.4976 | 485.2841 | 492.0706 | 498.8571 | 507.2597 | 523.3392 | 539.4187 | 555.4982 | 570.8221 | 569.5215 | 568.221 | 566.9204 | 565.6199 | 569.501 | 573.8755 | 578.2501 | 582.6247 | 577.8697 | 570.5787 | 563.2878 | 555.9969 | 547.9188 | 539.4209 | 530.923 | 522.4251 | 526.2537 | 541.3816 | 556.5095 | 571.6374 | 574.6144 | 558.6901 | 542.7658 | 526.8415 | 518.5112 | 531.6973 | 544.8834 | 558.0695 | 571.2556 | 584.4417 | 597.6278 | 610.8139 | 624
| PV1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.0016 | 58.7323 | 98.4629 | 138.1936 | 180.9952 | 229.5549 | 278.1145 | 326.6742 | 382.3917 | 463.8773 | 545.3628 | 626.8484 | 709.4077 | 803.2404 | 897.0732 | 990.906 | 1084.7388 | 1144.7319 | 1203.1869 | 1261.6419 | 1320.0969 | 1331.7377 | 1333.523 | 1335.3082 | 1337.0934 | 1318.3309 | 1290.5788 | 1262.8267 | 1235.0746 | 1238.9339 | 1267.1096 | 1295.2853 | 1323.4611 | 1330.0811 | 1308.6788 | 1287.2765 | 1265.8742 | 1226.1325 | 1144.4723 | 1062.812 | 981.1518 | 895.1341 | 788.4186 | 681.7031 | 574.9876 | 470.8815 | 424.1825 | 377.4834 | 330.7844 | 284.0854 | 244.9858 | 206.6099 | 168.2341 | 129.8582 | 108.8524 | 92.6716 | 76.4909 | 60.3101 | 46.048 | 32.8092 | 19.5704 | 6.3316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PV2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.5024 | 88.0984 | 147.6944 | 207.2903 | 271.4928 | 344.3323 | 417.1718 | 490.0113 | 571.9454 | 686.6201 | 801.2948 | 915.9695 | 1030.2841 | 1140.8185 | 1251.353 | 1361.8874 | 1472.4218 | 1504.8059 | 1533.6378 | 1562.4696 | 1591.3014 | 1626.2676 | 1662.5253 | 1698.783 | 1735.0407 | 1750.8501 | 1757.7136 | 1764.577 | 1771.4404 | 1765.741 | 1750.378 | 1735.015 | 1719.6521 | 1713.6118 | 1719.691 | 1725.7702 | 1731.8495 | 1706.8451 | 1610.7926 | 1514.7401 | 1418.6877 | 1315.4422 | 1178.03 | 1040.6178 | 903.2056 | 768.0654 | 682.9095 | 597.7536 | 512.5977 | 427.4418 | 367.4787 | 309.9149 | 252.3511 | 194.7873 | 163.2786 | 139.0075 | 114.7363 | 90.4652 | 69.072 | 49.2138 | 29.3556 | 9.4974 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wholesale market Price($/MWh) |  | 2: Same price for upward and downward reserve
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
| energy price | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 48.3609 | 53.8947 | 59.4286 | 64.9624 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 69.4737 | 73.6241 | 77.7744 | 81.9248 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 81.7444 | 77.594 | 73.4436 | 69.2932 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 64.7218 | 59.188 | 53.6541 | 48.1203 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 47.3985 | 52.9323 | 58.4662 | 64 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 71.8195 | 75.9699 | 80.1203 | 84.2707 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 85.7143 | 84.0902 | 79.9398 | 75.7895 | 71.6391 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 67.8496 | 62.3158 | 56.782 | 51.2481 | 45.7143
| Reserve price | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 66.9925 | 74.7744 | 82.5564 | 90.3383 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 91.015 | 83.2331 | 75.4511 | 67.6692 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 65.2331 | 68.3459 | 71.4586 | 74.5714 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 81.406 | 86.0752 | 90.7444 | 95.4135 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 94.6015 | 89.9323 | 85.2632 | 80.594 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429 | 77.1429
AGG Price($/MWh)
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
| energy price | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 29.0165 | 32.3368 | 35.6571 | 38.9774 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.6842 | 44.1744 | 46.6647 | 49.1549 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 49.0466 | 46.5564 | 44.0662 | 41.5759 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 38.8331 | 35.5128 | 32.1925 | 28.8722 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 28.4391 | 31.7594 | 35.0797 | 38.4 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 43.0917 | 45.582 | 48.0722 | 50.5624 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 51.4286 | 50.4541 | 47.9639 | 45.4737 | 42.9835 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 40.7098 | 37.3895 | 34.0692 | 30.7489 | 27.4286
| Reserve price | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 40.1955 | 44.8647 | 49.5338 | 54.203 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 54.609 | 49.9398 | 45.2707 | 40.6015 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 39.1398 | 41.0075 | 42.8752 | 44.7429 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 48.8436 | 51.6451 | 54.4466 | 57.2481 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 56.7609 | 53.9594 | 51.1579 | 48.3564 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857 | 46.2857
Forecasting active load (MW)
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96
| active load | 5.7812 | 5.6909 | 5.6006 | 5.5103 | 5.42 | 5.4322 | 5.4597 | 5.4873 | 5.5148 | 5.5575 | 5.6055 | 5.6536 | 5.7016 | 5.8615 | 6.0933 | 6.3252 | 6.557 | 6.8595 | 7.2392 | 7.6189 | 7.9986 | 8.3921 | 8.8115 | 9.2309 | 9.6503 | 10.0541 | 10.4019 | 10.7496 | 11.0973 | 11.4182 | 11.4574 | 11.4967 | 11.5359 | 11.5751 | 11.4865 | 11.3922 | 11.2978 | 11.2035 | 10.6632 | 10.0292 | 9.3951 | 8.761 | 8.3566 | 8.0528 | 7.7489 | 7.445 | 7.2602 | 7.167 | 7.0737 | 6.9805 | 6.9364 | 6.956 | 6.9757 | 6.9954 | 7.0606 | 7.23 | 7.3994 | 7.5688 | 7.7282 | 7.8405 | 7.9529 | 8.0652 | 8.1843 | 8.4539 | 8.7236 | 8.9932 | 9.2628 | 9.6651 | 10.08 | 10.4949 | 10.9098 | 11.1102 | 11.251 | 11.3918 | 11.5325 | 11.6191 | 11.6767 | 11.7344 | 11.792 | 11.6712 | 11.3868 | 11.1024 | 10.8179 | 10.4509 | 9.9552 | 9.4595 | 8.9639 | 8.5288 | 8.2653 | 8.0018 | 7.7382 | 7.4828 | 7.2815 | 7.0801 | 6.8787 | 6.6773
| reactive load | 2.5694 | 2.5939 | 2.6185 | 2.643 | 2.6675 | 2.6826 | 2.6962 | 2.7098 | 2.7234 | 2.7444 | 2.7682 | 2.7919 | 2.8156 | 2.846 | 2.8806 | 2.9153 | 2.9499 | 3.0062 | 3.0863 | 3.1663 | 3.2463 | 3.3408 | 3.4626 | 3.5843 | 3.7061 | 3.8187 | 3.8984 | 3.9782 | 4.0579 | 4.1322 | 4.149 | 4.1658 | 4.1827 | 4.1995 | 4.1675 | 4.1332 | 4.099 | 4.0647 | 3.8998 | 3.7074 | 3.515 | 3.3226 | 3.2261 | 3.1716 | 3.1171 | 3.0626 | 3.0022 | 2.9374 | 2.8726 | 2.8078 | 2.7745 | 2.7824 | 2.7903 | 2.7981 | 2.8242 | 2.892 | 2.9598 | 3.0275 | 3.0913 | 3.1362 | 3.1811 | 3.2261 | 3.2737 | 3.3816 | 3.4894 | 3.5973 | 3.7051 | 3.866 | 4.032 | 4.198 | 4.3639 | 4.4441 | 4.5004 | 4.5567 | 4.613 | 4.6476 | 4.6707 | 4.6938 | 4.7168 | 4.6685 | 4.5547 | 4.4409 | 4.3272 | 4.1803 | 3.9821 | 3.7838 | 3.5856 | 3.4115 | 3.3061 | 3.2007 | 3.0953 | 2.9931 | 2.9126 | 2.832 | 2.7515 | 2.6709
Bus data
| Vmax(p.u.) | 1: 1.05; 6: The load of a node is multiplied by the total load multiplied by the proportion of the node's load to the total load
| Vmin(p.u.) | 1: 0.95
Branch data |  | 6: Bus load data; 10: The distribution of AGG parameter; 17: Node injection power prediction error
| bus_f | 1: bus_t; 2: r(Ω); 3: x(Ω); 7: bus_num; 8: Load; 10: Uniform distribution was used to generate the parameters of the running model shown in model (4)
| 1 | 1: 2; 2: 0.00073834; 3: 0.00037638; 7: 1; 8: 0
| 2 | 1: 3; 2: 0.0039479; 3: 0.0020108; 7: 2; 8: 100
| 3 | 1: 4; 2: 0.0029309; 3: 0.0014927; 7: 3; 8: 90; 10: Parameter; 11: Distribution; 12: Parameter; 13: Distribution
| 4 | 1: 5; 2: 0.0030518; 3: 0.0015544; 7: 4; 8: 120; 11: U(0.98,1); 13: U(0.95,0.99)
| 5 | 1: 6; 2: 0.0065586; 3: 0.0056617; 7: 5; 8: 60; 11: U(10,20kWh); 13: U(0,2kWh)
| 6 | 1: 7; 2: 0.0014991; 3: 0.0049554; 7: 6; 8: 60; 11: U(2,7kW); 13: U(0,0)
| 7 | 1: 8; 2: 0.0056969; 3: 0.0018827; 7: 7; 8: 200; 11: U(0,5kW); 13: U(0,0)
| 8 | 1: 9; 2: 0.0082482; 3: 0.0059259; 7: 8; 8: 200; 11: U(2,5kWh)
| 9 | 1: 10; 2: 0.0083604; 3: 0.0059259; 7: 9; 8: 60
| 10 | 1: 11; 2: 0.0015744; 3: 0.00052052; 7: 10; 8: 60
| 11 | 1: 12; 2: 0.0029982; 3: 0.00099139; 7: 11; 8: 45
| 12 | 1: 13; 2: 0.011756; 3: 0.0092492; 7: 12; 8: 60
| 13 | 1: 14; 2: 0.0043371; 3: 0.0057089; 7: 13; 8: 60
| 14 | 1: 15; 2: 0.0047327; 3: 0.0042122; 7: 14; 8: 120
| 15 | 1: 16; 2: 0.0059764; 3: 0.0043644; 7: 15; 8: 60
| 16 | 1: 17; 2: 0.010322; 3: 0.013782; 7: 16; 8: 60
| 17 | 1: 18; 2: 0.0058619; 3: 0.0045966; 7: 17; 8: 60
| 2 | 1: 19; 2: 0.0013133; 3: 0.0012533; 7: 18; 8: 90; 17: Operational model coefficient matrices forecast error
| 19 | 1: 20; 2: 0.012046; 3: 0.010854; 7: 19; 8: 90
| 20 | 1: 21; 2: 0.0032793; 3: 0.003831; 7: 20; 8: 90
| 21 | 1: 22; 2: 0.0056769; 3: 0.0075059; 7: 21; 8: 90
| 3 | 1: 23; 2: 0.0036132; 3: 0.0024689; 7: 22; 8: 90
| 23 | 1: 24; 2: 0.0071912; 3: 0.0056785; 7: 23; 8: 90
| 24 | 1: 25; 2: 0.0071752; 3: 0.0056144; 7: 24; 8: 420
| 6 | 1: 26; 2: 0.0016256; 3: 0.00082803; 7: 25; 8: 420
| 26 | 1: 27; 2: 0.0022759; 3: 0.0011588; 7: 26; 8: 60
| 27 | 1: 28; 2: 0.0084805; 3: 0.0074771; 7: 27; 8: 60
| 28 | 1: 29; 2: 0.00644; 3: 0.0056104; 7: 28; 8: 60
| 29 | 1: 30; 2: 0.0040641; 3: 0.0020701; 7: 29; 8: 120
| 30 | 1: 31; 2: 0.007803; 3: 0.0077117; 7: 30; 8: 200
| 31 | 1: 32; 2: 0.0024865; 3: 0.0028981; 7: 31; 8: 150
| 32 | 1: 33; 2: 0.0027307; 3: 0.0042939; 7: 32; 8: 210
[8 empty] | 33 | 60

## 141_bus
DG parameter
| Cost_coefficient(a_i($/MWh2)) | Cost_coefficient(b_i($/MWh)) | Cost coefficient of reserve ($/MWh) | Maximum active output(kW) | Minimum active output(kW) | Maximum reactive output(kVar) | Minimum reactive output(kVar)
| 12 | 90 | 90 | 2500 | 0 | 1500 | 0
Forecasting RES output(kW)
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| WT1 | 1930 | 1915.6522 | 1901.3043 | 1745.6522 | 1575.8696 | 1531.3043 | 1514.5652 | 1367.3913 | 1171.3043 | 1130.4348 | 1178.2609 | 1048.6957 | 771.3043 | 706.9565 | 898.2609 | 1016.5217 | 1006.9565 | 1039.1304 | 1182.6087 | 1329.1304 | 1489.3478 | 1650.8696 | 1825.4348 | 2000
| WT2 | 1158 | 1149.3913 | 1140.7826 | 1047.3913 | 945.5217 | 918.7826 | 908.7391 | 820.4348 | 702.7826 | 678.2609 | 706.9565 | 629.2174 | 462.7826 | 424.1739 | 538.9565 | 609.913 | 604.1739 | 623.4783 | 709.5652 | 797.4783 | 893.6087 | 990.5217 | 1095.2609 | 1200
| PV1 | 0 | 0 | 0 | 0 | 0 | 126.2345 | 280.5211 | 539.4218 | 837.5527 | 1023.2792 | 1143.2792 | 1161.4516 | 1144.7748 | 962.2967 | 702.841 | 363.7784 | 215.4035 | 93.4736 | 42.0631 | 0 | 0 | 0 | 0 | 0
| PV2 | 0 | 0 | 0 | 0 | 0 | 189.3518 | 420.7817 | 785.1326 | 1136.329 | 1534.9189 | 1678.9189 | 1706.1774 | 1645.1621 | 1335.445 | 1030.2615 | 593.6676 | 323.1053 | 140.2103 | 63.0946 | 0 | 0 | 0 | 0 | 0
Wholesale market Price($/MWh) |  | 2: Same price for upward and downward reserve
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| energy | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 45.7143 | 68.5714 | 68.5714 | 85.7143 | 85.7143 | 68.5714 | 68.5714 | 45.7143 | 45.7143 | 45.7143 | 68.5714 | 68.5714 | 68.5714 | 68.5714 | 85.7143 | 85.7143 | 85.7143 | 68.5714 | 68.5714 | 45.7143
| Reserve | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 64.2857 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 64.2857 | 64.2857 | 64.2857 | 77.1429 | 77.1429 | 77.1429 | 96.4286 | 96.4286 | 96.4286 | 96.4286 | 77.1429 | 77.1429 | 77.1429
AGG Price($/MWh)
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| energy price | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 27.4286 | 41.1429 | 41.1429 | 51.4286 | 51.4286 | 41.1429 | 41.1429 | 27.4286 | 27.4286 | 27.4286 | 41.1429 | 41.1429 | 41.1429 | 41.1429 | 51.4286 | 51.4286 | 51.4286 | 41.1429 | 41.1429 | 27.4286
| Reserve | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 38.5714 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 38.5714 | 38.5714 | 38.5714 | 46.2857 | 46.2857 | 46.2857 | 57.8571 | 57.8571 | 57.8571 | 57.8571 | 46.2857 | 46.2857 | 46.2857
Forecasting active load (MW)
| time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| active | 11.6 | 11.4 | 11 | 11.8 | 13 | 14.2 | 16.6 | 19.6245 | 20.9475 | 21.8295 | 20.16 | 16.6331 | 15.3127 | 15.1498 | 15.7757 | 17.8153 | 21.12 | 22 | 21.78 | 21.34 | 18.2 | 16 | 13.8 | 12.6
| reactive | 5.8 | 5.7 | 5.5 | 5.9 | 6.5 | 7.1 | 8.3 | 9.8122 | 10.4738 | 10.9147 | 10.08 | 8.3165 | 7.6564 | 7.5749 | 7.8878 | 8.9077 | 10.56 | 11 | 10.89 | 10.67 | 9.1 | 8 | 6.9 | 6.3
Bus data
| Vmax(p.u.) | 1: 1.05
| Vmin(p.u.) | 1: 0.95
The load of a node is multiplied by the total load multiplied by the proportion of the node's load to the total load
Branch data |  | 6: Bus load data
| bus_f | 1: bus_t; 2: r(Ω); 3: x(Ω); 7: bus_num; 8: Load
| 1 | 1: 2; 2: 0.012983; 3: 0.0092025; 7: 1; 8: 0
| 2 | 1: 3; 2: 0.038812; 3: 0.027518; 7: 2; 8: 0
| 3 | 1: 4; 2: 0.0007425; 3: 0.00045; 7: 3; 8: 0.0013991
| 4 | 1: 5; 2: 0.00207; 3: 0.0014625; 7: 4; 8: 0.0034977
| 5 | 1: 6; 2: 0.00153; 3: 0.0011025; 7: 5; 8: 0.0034977
| 6 | 1: 7; 2: 0.010552; 3: 0.014063; 7: 6; 8: 0.0013991
| 7 | 1: 8; 2: 0.01656; 3: 0.022073; 7: 7; 8: 0.0013991
| 8 | 1: 9; 2: 0.014603; 3: 0.010328; 7: 8; 8: 0.010493
| 9 | 1: 10; 2: 0.011408; 3: 0.0080775; 7: 9; 8: 0.0013991
| 10 | 1: 11; 2: 0.00261; 3: 0.001845; 7: 10; 8: 0
| 11 | 1: 12; 2: 0.029048; 3: 0.020543; 7: 11; 8: 0
| 12 | 1: 13; 2: 0.027608; 3: 0.019485; 7: 12; 8: 0.0034977
| 13 | 1: 14; 2: 0.01098; 3: 0.0077625; 7: 13; 8: 0.010493
| 14 | 1: 15; 2: 0.021532; 3: 0.015232; 7: 14; 8: 0.0034977
| 15 | 1: 16; 2: 0.01935; 3: 0.013703; 7: 15; 8: 0.0034977
| 16 | 1: 17; 2: 0.008955; 3: 0.006345; 7: 16; 8: 0.0034977
| 17 | 1: 18; 2: 0.01863; 3: 0.012735; 7: 17; 8: 0.020986
| 18 | 1: 19; 2: 0.004185; 3: 0.00297; 7: 18; 8: 0
| 19 | 1: 20; 2: 0.012578; 3: 0.0088875; 7: 19; 8: 0
| 20 | 1: 21; 2: 0.0082125; 3: 0.005535; 7: 20; 8: 0.0013991
| 21 | 1: 22; 2: 0.012892; 3: 0.0069075; 7: 21; 8: 0.010493
| 22 | 1: 23; 2: 0.0059175; 3: 0.0042975; 7: 22; 8: 0
| 23 | 1: 24; 2: 0.015368; 3: 0.011182; 7: 23; 8: 0.010493
| 24 | 1: 25; 2: 0.008955; 3: 0.006345; 7: 24; 8: 0
| 25 | 1: 26; 2: 0.016403; 3: 0.011925; 7: 25; 8: 0
| 26 | 1: 27; 2: 0.0075375; 3: 0.00549; 7: 26; 8: 0.020986
| 27 | 1: 28; 2: 0.01314; 3: 0.009315; 7: 27; 8: 0.010493
| 28 | 1: 29; 2: 0.014738; 3: 0.010417; 7: 28; 8: 0
| 61 | 1: 62; 2: 0.0092475; 3: 0.0065475; 7: 29; 8: 0.010493
| 60 | 1: 63; 2: 0.0079425; 3: 0.005625; 7: 30; 8: 0
| 63 | 1: 64; 2: 0.023558; 3: 0.016672; 7: 31; 8: 0
| 64 | 1: 65; 2: 0.015165; 3: 0.010733; 7: 32; 8: 0.020986
| 65 | 1: 66; 2: 0.006795; 3: 0.004815; 7: 33; 8: 0
| 66 | 1: 67; 2: 0.01026; 3: 0.0072675; 7: 34; 8: 0.020986
| 67 | 1: 68; 2: 0.004905; 3: 0.003465; 7: 35; 8: 0
| 70 | 1: 72; 2: 0.01575; 3: 0.011138; 7: 36; 8: 0.0013991
| 42 | 1: 73; 2: 0.0051975; 3: 0.00369; 7: 37; 8: 0.0069955
| 73 | 1: 74; 2: 0.000675; 3: 0.00144; 7: 38; 8: 0
| 43 | 1: 75; 2: 0.0085275; 3: 0.00603; 7: 39; 8: 0.0027982
| 44 | 1: 76; 2: 0.01242; 3: 0.0087975; 7: 40; 8: 0
| 46 | 1: 77; 2: 0.01161; 3: 0.00981; 7: 41; 8: 0.010493
| 76 | 1: 78; 2: 0.0037575; 3: 0.002475; 7: 42; 8: 0
| 78 | 1: 79; 2: 0.0093375; 3: 0.0022725; 7: 43; 8: 0
| 79 | 1: 80; 2: 0.022568; 3: 0.00549; 7: 44; 8: 0.0069955
| 79 | 1: 81; 2: 0.034042; 3: 0.008325; 7: 45; 8: 0.0069955
| 81 | 1: 82; 2: 0.0007425; 3: 0.00045; 7: 46; 8: 0.0069955
| 47 | 1: 83; 2: 0.0019125; 3: 0.001395; 7: 47; 8: 0
| 49 | 1: 84; 2: 0.011633; 3: 0.010103; 7: 48; 8: 0.017489
| 50 | 1: 85; 2: 0.0033075; 3: 0.00081; 7: 49; 8: 0.020986
| 85 | 1: 86; 2: 0.0008325; 3: 0.00045; 7: 50; 8: 0
| 86 | 1: 87; 2: 0.0007425; 3: 0.00045; 7: 51; 8: 0.017489
| 7 | 1: 88; 2: 0.003915; 3: 0.0051975; 7: 52; 8: 0.010493
| 88 | 1: 89; 2: 0.010552; 3: 0.014063; 7: 53; 8: 0.013991
| 89 | 1: 90; 2: 0.0067275; 3: 0.008955; 7: 54; 8: 0
| 90 | 1: 91; 2: 0.00477; 3: 0.0063675; 7: 55; 8: 0
| 91 | 1: 92; 2: 0.0070875; 3: 0.00945; 7: 56; 8: 0.0034977
| 92 | 1: 93; 2: 0.0063; 3: 0.0083925; 7: 57; 8: 0
| 93 | 1: 94; 2: 0.004635; 3: 0.006165; 7: 58; 8: 0
| 94 | 1: 95; 2: 0.004635; 3: 0.006165; 7: 59; 8: 0.020986
| 89 | 1: 96; 2: 0.015457; 3: 0.010935; 7: 60; 8: 0
| 96 | 1: 97; 2: 0.021825; 3: 0.015435; 7: 61; 8: 0
| 97 | 1: 98; 2: 0.020295; 3: 0.00441; 7: 62; 8: 0.0013991
| 97 | 1: 99; 2: 0.0007425; 3: 0.00045; 7: 63; 8: 0
| 131 | 1: 132; 2: 0.0078075; 3: 0.0055125; 7: 64; 8: 0
| 131 | 1: 133; 2: 0.0207; 3: 0.015052; 7: 65; 8: 0.020986
| 121 | 1: 134; 2: 0.018922; 3: 0.01377; 7: 66; 8: 0.03148
| 16 | 1: 135; 2: 0.011857; 3: 0.0083925; 7: 67; 8: 0.0069955
| 16 | 1: 136; 2: 0.006795; 3: 0.004815; 7: 68; 8: 0.013991
| 18 | 1: 137; 2: 0.01314; 3: 0.009315; 7: 69; 8: 0.0069955
| 23 | 1: 138; 2: 0.017302; 3: 0.012578; 7: 70; 8: 0
| 29 | 1: 30; 2: 0.007695; 3: 0.00558; 7: 71; 8: 0.0069955
| 30 | 1: 31; 2: 0.00288; 3: 0.0020475; 7: 72; 8: 0.020986
| 31 | 1: 32; 2: 0.0078075; 3: 0.0055125; 7: 73; 8: 0
| 2 | 1: 33; 2: 0.0099675; 3: 0.007065; 7: 74; 8: 0.0013991
| 33 | 1: 34; 2: 0.0007425; 3: 0.00045; 7: 75; 8: 0.0062959
| 5 | 1: 35; 2: 0.051165; 3: 0.012465; 7: 76; 8: 0.010493
| 5 | 1: 36; 2: 0.028463; 3: 0.035213; 7: 77; 8: 0.020986
| 6 | 1: 37; 2: 0.0012375; 3: 0.0016425; 7: 78; 8: 0
| 37 | 1: 38; 2: 0.04581; 3: 0.0324; 7: 79; 8: 0
| 38 | 1: 39; 2: 0.021105; 3: 0.014918; 7: 80; 8: 0.0069955
| 39 | 1: 40; 2: 0.0078075; 3: 0.0055125; 7: 81; 8: 0
| 40 | 1: 41; 2: 0.020655; 3: 0.014625; 7: 82; 8: 0.020986
| 41 | 1: 42; 2: 0.052155; 3: 0.0369; 7: 83; 8: 0.010493
| 42 | 1: 43; 2: 0.027158; 3: 0.019215; 7: 84; 8: 0.03148
| 43 | 1: 44; 2: 0.0099675; 3: 0.007065; 7: 85; 8: 0
| 44 | 1: 45; 2: 0.0091125; 3: 0.00648; 7: 86; 8: 0.0013991
| 45 | 1: 46; 2: 0.0036; 3: 0.0028575; 7: 87; 8: 0.020986
| 46 | 1: 47; 2: 0.01431; 3: 0.010125; 7: 88; 8: 0.010493
| 47 | 1: 48; 2: 0.0093825; 3: 0.0066375; 7: 89; 8: 0.0090941
| 48 | 1: 49; 2: 0.01647; 3: 0.011475; 7: 90; 8: 0.0034977
| 49 | 1: 50; 2: 0.01863; 3: 0.01251; 7: 91; 8: 0.0034977
| 50 | 1: 51; 2: 0.008955; 3: 0.006345; 7: 92; 8: 0.0034977
| 51 | 1: 52; 2: 0.0050625; 3: 0.0035775; 7: 93; 8: 0
| 38 | 1: 53; 2: 0.018922; 3: 0.013388; 7: 94; 8: 0.01539
| 42 | 1: 54; 2: 0.0036225; 3: 0.002565; 7: 95; 8: 0
| 54 | 1: 55; 2: 0.011857; 3: 0.0083925; 7: 96; 8: 0.020986
| 55 | 1: 56; 2: 0.020093; 3: 0.01422; 7: 97; 8: 0
| 56 | 1: 57; 2: 0.019508; 3: 0.013793; 7: 98; 8: 0.0069955
| 57 | 1: 58; 2: 0.015165; 3: 0.010733; 7: 99; 8: 0
| 58 | 1: 59; 2: 0.010552; 3: 0.00747; 7: 100; 8: 0.0013991
| 55 | 1: 60; 2: 0.007515; 3: 0.00531; 7: 101; 8: 0.0020986
| 60 | 1: 61; 2: 0.0073575; 3: 0.00522; 7: 102; 8: 0
| 63 | 1: 69; 2: 0.008235; 3: 0.0058275; 7: 103; 8: 0.017489
| 55 | 1: 70; 2: 0.0051975; 3: 0.00369; 7: 104; 8: 0
| 70 | 1: 71; 2: 0.0027; 3: 0.0006525; 7: 105; 8: 0.041973
| 99 | 1: 100; 2: 0.0007425; 3: 0.00045; 7: 106; 8: 0.020986
| 91 | 1: 101; 2: 0.0051975; 3: 0.00369; 7: 107; 8: 0.0013991
| 101 | 1: 102; 2: 0.013005; 3: 0.0092025; 7: 108; 8: 0
| 102 | 1: 103; 2: 0.020003; 3: 0.0048825; 7: 109; 8: 0.0034977
| 103 | 1: 104; 2: 0.014153; 3: 0.0034425; 7: 110; 8: 0.020986
| 104 | 1: 105; 2: 0.026325; 3: 0.0064125; 7: 111; 8: 0.0034977
| 104 | 1: 106; 2: 0.002565; 3: 0.000585; 7: 112; 8: 0.0069955
| 92 | 1: 107; 2: 0.019103; 3: 0.0046575; 7: 113; 8: 0.010493
| 94 | 1: 108; 2: 0.01377; 3: 0.00585; 7: 114; 8: 0.010493
| 108 | 1: 109; 2: 0.01017; 3: 0.00432; 7: 115; 8: 0.010493
| 94 | 1: 110; 2: 0.0007425; 3: 0.00045; 7: 116; 8: 0.0013991
| 7 | 1: 111; 2: 0.016178; 3: 0.011453; 7: 117; 8: 0.0090941
| 10 | 1: 112; 2: 0.024075; 3: 0.0058725; 7: 118; 8: 0
| 11 | 1: 113; 2: 0.0078075; 3: 0.0055125; 7: 119; 8: 0.01539
| 13 | 1: 114; 2: 0.014018; 3: 0.0099225; 7: 120; 8: 0.0090941
| 114 | 1: 115; 2: 0.01503; 3: 0.010643; 7: 121; 8: 0.0090941
| 115 | 1: 116; 2: 0.0009; 3: 0.00045; 7: 122; 8: 0.0090941
| 14 | 1: 117; 2: 0.011385; 3: 0.008235; 7: 123; 8: 0.013991
| 15 | 1: 118; 2: 0.0036225; 3: 0.002565; 7: 124; 8: 0.017489
| 118 | 1: 119; 2: 0.010395; 3: 0.0073575; 7: 125; 8: 0
| 119 | 1: 120; 2: 0.00954; 3: 0.00675; 7: 126; 8: 0
| 120 | 1: 121; 2: 0.011408; 3: 0.0080775; 7: 127; 8: 0.010493
| 121 | 1: 122; 2: 0.01647; 3: 0.011655; 7: 128; 8: 0.010493
| 122 | 1: 123; 2: 0.01314; 3: 0.009315; 7: 129; 8: 0.01539
| 123 | 1: 124; 2: 0.013725; 3: 0.00972; 7: 130; 8: 0.01574
| 124 | 1: 125; 2: 0.017617; 3: 0.012465; 7: 131; 8: 0
| 125 | 1: 126; 2: 0.018765; 3: 0.013657; 7: 132; 8: 0.0013991
| 126 | 1: 127; 2: 0.0078075; 3: 0.0055125; 7: 133; 8: 0.0062959
| 127 | 1: 128; 2: 0.012825; 3: 0.00945; 7: 134; 8: 0.0048968
| 128 | 1: 129; 2: 0.013163; 3: 0.0095625; 7: 135; 8: 0.0034977
| 129 | 1: 130; 2: 0.0023175; 3: 0.0016425; 7: 136; 8: 0.010493
| 119 | 1: 131; 2: 0.0079875; 3: 0.0056925; 7: 137; 8: 0.007695
| 25 | 1: 139; 2: 0.021375; 3: 0.015142; 7: 138; 8: 0.0069955
| 30 | 1: 140; 2: 0.011678; 3: 0.0084825; 7: 139; 8: 0.0013991
| 31 | 1: 141; 2: 0.01314; 3: 0.009315; 7: 140; 8: 0.020986
[8 empty] | 141 | 0.010493